Surface modifications and coatings for cardiovascular and other applications

Dr Kadem Al-Lamee

Managing Director

ARTERIUS Limited

Bradford University, UK

Why do we need surface modification of biomaterials?

When a medical device is placed in the body, it is the surface of a biomaterial which first comes into contact with body fluid or tissue or blood. Therefore the initial response of the host organism towards the biomaterial is closely associated with the material’s surface properties.

The objectives of this workshop are to discuss the following two areas:

- Materials:

- The types of conventional materials such as polymers, metals and ceramics used for biomedical applications.

- How to improve the biocompatibility of those materials.

- How to enhance the surface physical properties of those materials.

- How to add surface functionalities to those materials.

- Applications:

Cardiovascular

Orthopaedics

Ophthalmic

Urology

Tissue engineering

Biotechnology

Nanotechnology